## WASTEWATER_SEWERAGE
metric | value | unit | geography | date | value_status | source_document | source_page
Population | 11,63,000 | persons | Bhubaneswar Municipal Corporation | March 2021 | OBSERVED | CAG Performance Audit Report No. 8 of 2024 (Storm Water Drainage & Sewerage Mgmt, Odisha MCs, FY2017-18 to FY2021-22) | 24
Municipal area | 186.00 | sq. km | Bhubaneswar Municipal Corporation | as of report | OBSERVED | same as above | 24
Drain network length | 541.60 | km | Bhubaneswar Municipal Corporation | as of report | OBSERVED | same as above | 24
Annual average rainfall | 1,705.17 | mm | Bhubaneswar Municipal Corporation | as of report (IMD data) | OBSERVED | same as above | 24
Water supply per day | 270.64 | MLD | Bhubaneswar Municipal Corporation | as of report | OBSERVED | same as above | 24
Existing old sewerage line length (without STP connection) | 500.800 | km | Bhubaneswar (WATCO Divisions I & II) | as of audit (2022) | OBSERVED | same as above | 64
Manhole chambers (existing, without STP) | 30,760 | count | Bhubaneswar (WATCO Divisions I & II) | as of audit (2022) | OBSERVED | same as above | 64
New STPs partly commissioned | 4 | count | Bhubaneswar | since December 2020 | OBSERVED | same as above | 64
Sewerage line length under WATCO Division No. II | 322.27 | km | Bhubaneswar (WATCO Division II only) | as of November 2022 | OBSERVED | same as above | 64
Sewerage line connected to new STPs (WATCO Division II) | 121.16 (37.60%) | km (% of Division II length) | Bhubaneswar (WATCO Division II only) | as of November 2022 | OBSERVED | same as above | 64

## README_NOTES
field | note
Status | READY — this is real, audited (CAG/Government of Odisha), dated, Bhubaneswar-specific infrastructure data. It describes sewerage NETWORK COVERAGE and STP CONNECTION STATUS, not a single 'wastewater flow in MLD treated' number — if your dashboard card needs a specific flow-rate figure, the closest is water SUPPLY (270.64 MLD) with the standard 80% sewage-generation-rate assumption cited elsewhere in the same report (Manual on SSTS, 2013 norm) — that 80% conversion is a NORM, not a measured value, so treat any derived sewage-generation MLD figure as ESTIMATED, not OBSERVED.
Scope note | 'Only a portion of total waste generated is transported...' and similar sewerage-specific commentary in the report is about NETWORK COVERAGE, not a single current treated-MLD figure for the whole city — no single 'current MLD treated' number for Bhubaneswar was found; only network/connection percentages.