## OSPCB_ANNUAL_LAKE_RAW
record_id | source_id | year | station_code | station_name | parameter | annual_average | minimum | maximum | unit | number_of_observations | page_number | table_number | verification_status | notes
OSPCB-ANN2023-RAMB-pH | OSPCB-ANNUAL-LAKES-2023 | 2023 |  | Chilka lake – Rambha | pH | 8.2 | 7.2 | 8.5 | unitless | 12 | 1 | Brackish Water Lake table | VERIFIED_PRIMARY | Annual average + range from OSPCB Annual Water Quality Data of Lakes in Odisha 2023, page 1. Both stations: Does not conform to Class-SW-II due to FC. Rambha FC violations 10 (83%); Satpada FC violations 7 (58%).
OSPCB-ANN2023-RAMB-DissolvedO | OSPCB-ANNUAL-LAKES-2023 | 2023 |  | Chilka lake – Rambha | Dissolved Oxygen | 7 | 4 | 9.4 | mg/L | 12 | 1 | Brackish Water Lake table | VERIFIED_PRIMARY | Annual average + range from OSPCB Annual Water Quality Data of Lakes in Odisha 2023, page 1. Both stations: Does not conform to Class-SW-II due to FC. Rambha FC violations 10 (83%); Satpada FC violations 7 (58%).
OSPCB-ANN2023-RAMB-BOD | OSPCB-ANNUAL-LAKES-2023 | 2023 |  | Chilka lake – Rambha | BOD | 1.7 | 1.1 | 2.1 | mg/L | 12 | 1 | Brackish Water Lake table | VERIFIED_PRIMARY | Annual average + range from OSPCB Annual Water Quality Data of Lakes in Odisha 2023, page 1. Both stations: Does not conform to Class-SW-II due to FC. Rambha FC violations 10 (83%); Satpada FC violations 7 (58%).
OSPCB-ANN2023-RAMB-Turbidity | OSPCB-ANNUAL-LAKES-2023 | 2023 |  | Chilka lake – Rambha | Turbidity | 5.5 | 2.5 | 23 | NTU | 12 | 1 | Brackish Water Lake table | VERIFIED_PRIMARY | Annual average + range from OSPCB Annual Water Quality Data of Lakes in Odisha 2023, page 1. Both stations: Does not conform to Class-SW-II due to FC. Rambha FC violations 10 (83%); Satpada FC violations 7 (58%).
OSPCB-ANN2023-RAMB-FecalColif | OSPCB-ANNUAL-LAKES-2023 | 2023 |  | Chilka lake – Rambha | Fecal Coliform | 499 | 78 | 1700 | MPN/100 mL | 12 | 1 | Brackish Water Lake table | VERIFIED_PRIMARY | Annual average + range from OSPCB Annual Water Quality Data of Lakes in Odisha 2023, page 1. Both stations: Does not conform to Class-SW-II due to FC. Rambha FC violations 10 (83%); Satpada FC violations 7 (58%).
OSPCB-ANN2023-SATP-pH | OSPCB-ANNUAL-LAKES-2023 | 2023 |  | Chilka lake – Satpada | pH | 7.9 | 7.3 | 8.4 | unitless | 12 | 1 | Brackish Water Lake table | VERIFIED_PRIMARY | Annual average + range from OSPCB Annual Water Quality Data of Lakes in Odisha 2023, page 1. Both stations: Does not conform to Class-SW-II due to FC. Rambha FC violations 10 (83%); Satpada FC violations 7 (58%).
OSPCB-ANN2023-SATP-DissolvedO | OSPCB-ANNUAL-LAKES-2023 | 2023 |  | Chilka lake – Satpada | Dissolved Oxygen | 7.2 | 6 | 9 | mg/L | 12 | 1 | Brackish Water Lake table | VERIFIED_PRIMARY | Annual average + range from OSPCB Annual Water Quality Data of Lakes in Odisha 2023, page 1. Both stations: Does not conform to Class-SW-II due to FC. Rambha FC violations 10 (83%); Satpada FC violations 7 (58%).
OSPCB-ANN2023-SATP-BOD | OSPCB-ANNUAL-LAKES-2023 | 2023 |  | Chilka lake – Satpada | BOD | 1.6 | 1.1 | 2.4 | mg/L | 12 | 1 | Brackish Water Lake table | VERIFIED_PRIMARY | Annual average + range from OSPCB Annual Water Quality Data of Lakes in Odisha 2023, page 1. Both stations: Does not conform to Class-SW-II due to FC. Rambha FC violations 10 (83%); Satpada FC violations 7 (58%).
OSPCB-ANN2023-SATP-Turbidity | OSPCB-ANNUAL-LAKES-2023 | 2023 |  | Chilka lake – Satpada | Turbidity | 26.4 | 7.3 | 50 | NTU | 12 | 1 | Brackish Water Lake table | VERIFIED_PRIMARY | Annual average + range from OSPCB Annual Water Quality Data of Lakes in Odisha 2023, page 1. Both stations: Does not conform to Class-SW-II due to FC. Rambha FC violations 10 (83%); Satpada FC violations 7 (58%).
OSPCB-ANN2023-SATP-FecalColif | OSPCB-ANNUAL-LAKES-2023 | 2023 |  | Chilka lake – Satpada | Fecal Coliform | 500 | 78 | 1700 | MPN/100 mL | 12 | 1 | Brackish Water Lake table | VERIFIED_PRIMARY | Annual average + range from OSPCB Annual Water Quality Data of Lakes in Odisha 2023, page 1. Both stations: Does not conform to Class-SW-II due to FC. Rambha FC violations 10 (83%); Satpada FC violations 7 (58%).